{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["tableau","Model","tramme"],"not_rendered":{"images":4,"macros":1,"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"tableau","index":0,"n_rows":87,"n_cols":24,"rows_kept":87,"merged":[[1,2,3,10],[4,12,4,15],[4,20,4,23]]}
[{"$nulls":15},"hygrometrie ambiante"]
[null,null,"Liste des locaux iso"]
[]
["Création onglet","macro transfert"]
[{"$nulls":12},"Réferentiel",{"$nulls":7},"saisie Technicien"]
["liste","zone","nom du local","type","Zone2","CTA","LT","CLASSE selon les BPF","SURFACE en m2","Type de prestation suivant DEVIS","Nbr","iso","taux de renouvelement ","cascade pression ","temperature ambiante","hygrometrie ambiante","fitration soufflage \ndimension","quantité filtration\n soufflage","fitration reprise\ndimension","quantité filtration\n reprise","taux de renouvelement 2","cascade pression 2","temperature ambiante ","hygrometrie ambiante2"]
["LAB 10","LABO CLASSE P3","Sas Autoclave","SAS","RJ Ox","CTA 02-A","LT 01'","ISO 7",5,"Type spécifique P3",1,null,25,15]
["LAB 11","LABO CLASSE P3","Sas salle extr","SAS","RJ Ox","CTA 02-A","LT 01'","ISO 7",6,null,1]
["LAB 15","LABO CLASSE P3","Salle extr","LM LA 04","RJ Ox","CTA 02-A","LT 01'","ISO 7",25,null,1]
["PHA 15","LABO DE LA PHARMACIE","Labo préparation galénique et contrôle","LM PH 09","RJ Ox","RCR 331","LT 02","D",24,"Type A BPF activité et repos",1]
["PHA 22","LABO DE LA PHARMACIE","Prépa antic monocl","LM PH 10","RJ Ox","RCR 331","LT 02","C",13,null,1,null,25]
["PHA 20  PHA 19","LABO DE LA PHARMACIE","Bureau / Stockage anti-cancér","TS 18 / LM PH 15    ","RJ Ox","RCR 331","LT 02","C",31,null,1]
["PHA 18","LABO DE LA PHARMACIE","Prépa anti-cancér","LM PH 10","RJ Ox","RCR 331","LT 02","C",20,null,1]
["MNU 35","LABO MEDCINE NUCLEAIRE","Laboratoire chaud","DI MN 01","RC Sx","CTA 13-C","LT 06","C",43,null,1]
["DIA 12","TRAITEMENT DIALYSE CTA 09-A","traitement médicalisé",null,"RC Ex","CTA 09-A","LT 11","Risque 3",135,"NA",1]
["DIA 32","TRAITEMENT DIALYSE CTA 09-A","box isol 01 méd (poste n°1)","EA DI 02","RC Ex","CTA 09-A","LT 11","Risque 3",13,"Type B prestation de base",1]
["DIA 33","TRAITEMENT DIALYSE CTA 09-A","box isol 02 méd (poste n°2)","EA DI 02","RC Ex","CTA 09-A","LT 11","Risque 3",13,"NA",1]
["DIA 16  DIA 17","TRAITEMENT DIALYSE CTA 09-A","Traitement centre lourd/ prépa / surveillance","EA DI 02 / TS 14","RC Ex","CTA 09-A","LT 11","Risque 3",135,"NA",1]
["DIA 34","TRAITEMENT DIALYSE CTA 09-A","box isol 01centre lourd (poste n°1)","EA DI 02","RC Ex","CTA 09-A","LT 11","Risque 3",13,"Type B prestation de base",1]
["DIA 35","TRAITEMENT DIALYSE CTA 09-A","box isol 02 centre lourd (poste n°2)","EA DI 02","RC Ex","CTA 09-A","LT 11","Risque 3",13,"NA",1]
["CEF 36","ZONE FIC CTA 12","Zone spermiologie","EA CO 16","RC Nx","CTA 12","LT 08","Risque 2",24,"NA",1]
["CEF 37","ZONE FIC CTA 12","Zone FIV","EA CO 17","RC Nx","CTA 12","LT 08","Risque 2",36,"NA",1]
["BOP 43  BOP 42","SALLE DE SOINS CTA 94","Centr surveillance-prép soins / SSPI / induction","PI BOP 07 / TS14","R+1 Ox","CTA 94","LT 04","Risque 2",264,"Type B prestation de base",1]
["URG 22","DECHOCAGE CTA-14 A","Salle de déchocage","DI UR 11","RC Ox","CTA 14-A","LT 05","Risque 2",67,"NA",1]
["BOB 21","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Réanimation nouveau né","PI TS 01","R+1 Ox","CTA 18","LT 05","Risque 3",18,"Type B prestation de base",1]
["FEN 11","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Bib préparation","HO FE 12","R+1 Ox","CTA 18","LT 05","Risque 3",11,"NA",1]
["FEN 17","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box de réanimation néonatal","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",20,"Type C prestation simplifié",1]
["FEN 15","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box 2 places 02","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",20,"Type C prestation simplifié",1]
["FEN 14","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box 2 places 01","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",22,"2 salles par an les années suivantes",1]
["FEN 13","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box 1 place","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",11,null,1]
["FEN 19","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box kangourou 02","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",11,null,1]
["FEN 16","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box 2 places 03","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",19,null,1]
["FEN 18","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Box kangourou 01","HO FE 08","R+1 Ox","CTA 18","LT 05","Risque 2",13,null,1]
["BOB 16","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de travail 01","PI BOB 03","R+1 Ox","RCR 181","LT 05","Risque 3",21,"Type C prestation simplifié",1]
["BOB 17","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de travail 02","PI BOB 03","R+1 Ox","RCR 182","LT 05","Risque 3",25,"Type C prestation simplifié",1]
["BOB 011","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de pré travail 1","PI BOB 02","R+1 Ox","CTA 18","LT 05","Risque 2",19,"2 salles par an les années suivantes",1]
["BOB 012","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de pré travail 2","PI BOB 02","R+1 Ox","CTA 18","LT 05","Risque 2",18,null,1]
["BOB 18","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de travail 03","PI BOB 03","R+1 Ox","RCR 183","LT 05","Risque 3",24,null,1]
["BOB 19","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de travail 04","PI BOB 03","R+1 Ox","RCR 184","LT 05","Risque 3",25,null,1]
["BOB 20","NEONAT ET OBTETRIQUE CTA 18 et recycleur","Salle de travail démédicalisée","PI BOB 03","R+1 Ox","RCR 18D","LT 05","Risque 3",25,null,1]
["BOP 31","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 01","PI BOP 05","R+1 Ox","RCR 191","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 32","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 02","PI BOP 05","R+1 Ox","RCR 192","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 33","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 03","PI BOP 05","R+1 Ox","RCR 193","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 34","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 04","PI BOP 05","R+1 Ox","RCR 194","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 23","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 05","PI BOP 05","R+1 Ox","RCR 201","LT 05","Risque 4",37,"Type B prestation de base",1]
["BOP 24","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 06","PI BOP 05","R+1 Ox","RCR 202","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 25","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 07","PI BOP 05","R+1 Ox","RCR 203","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 26","SALLES D'OPERATION CTA 19 et recycleur","Salle d'opération polyvalente 08","PI BOP 05","R+1 Ox","RCR 204","LT 05","Risque 4",40,"Type B prestation de base",1]
["BOP 27","ANNEXES BLOCS OPERATOIRES CTA 21","Réanimation nouveaux nés","PI TS 01","R+1 Ox","CTA 21","LT 05","Risque 3",14,"Type B prestation de base",1]
["CIR BOP 05    ","ANNEXES BLOCS OPERATOIRES CTA 21","Circu bloc op 05 (sect op, modul 1&2, prépa chir)","PI BOP 06","R+1 Ox","CTA 21","LT 05","Risque 3",215,"Type B prestation de base",1]
["RSU 34","REANIMATION MODULE CTA 22","Chambre 1 lit 01","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,"Type C prestation simplifié",1]
["RSU 36","REANIMATION MODULE CTA 22","Chambre 1 lit 03","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,"Type C prestation simplifié",1]
["RSU 37","REANIMATION MODULE CTA 22","Chambre 1 lit 04","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,"2 salles par an les années suivantes",1]
["RSU 38","REANIMATION MODULE CTA 22","Chambre 1 lit 05","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 39","REANIMATION MODULE CTA 22","Chambre 1 lit 06","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",19,null,1]
["RSU 40","REANIMATION MODULE CTA 22","Chambre 1 lit 07","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 41","REANIMATION MODULE CTA 22","Chambre 1 lit Sas","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",28,null,1]
["RSU 49","REANIMATION MODULE CTA 22","Chambre 1 lit 01","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",19,null,1]
["RSU 50","REANIMATION MODULE CTA 22","Chambre 1 lit 02","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 51","REANIMATION MODULE CTA 22","Chambre 1 lit 03","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 56","REANIMATION MODULE CTA 22","Chambre 1 lit 08","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 55","REANIMATION MODULE CTA 22","Chambre 1 lit 07","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",19,null,1]
["RSU 54","REANIMATION MODULE CTA 22","Chambre 1 lit 06","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 53","REANIMATION MODULE CTA 22","Chambre 1 lit 05","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",20,null,1]
["RSU 52","REANIMATION MODULE CTA 22","Chambre 1 lit 04","SC 02","R+1 Sx","CTA 22","LT 06","Risque 2",19,null,1]
["RSU 62","REANIMATION MODULES CTA 23","Chambre 1 lit 03","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",20,"Type C prestation simplifié",1]
["RSU 61","REANIMATION MODULES CTA 23","Chambre 1 lit 02","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",20,"Type C prestation simplifié",1]
["RSU 60","REANIMATION MODULES CTA 23","Chambre 1 lit 01","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",20,"2 salles par an les années suivantes",1]
["RSU 63","REANIMATION MODULES CTA 23","Chambre 1 lit 04","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",20,null,1]
["RSU 64","REANIMATION MODULES CTA 23","Chambre 1 lit 05","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",20,null,1]
["RSU 65","REANIMATION MODULES CTA 23","Chambre 1 lit 06","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 66","REANIMATION MODULES CTA 23","Chambre 1 lit 07","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",16,null,1]
["RSU 67","REANIMATION MODULES CTA 23","Chambre 1 lit 08","SC 02","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 75","REANIMATION MODULES CTA 23","Chambre 1 lit 01","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 82","REANIMATION MODULES CTA 23","Chambre 1 lit Sas","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",25,null,1]
["RSU 76","REANIMATION MODULES CTA 23","Chambre 1 lit 02","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 77","REANIMATION MODULES CTA 23","Chambre 1 lit 03","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 78","REANIMATION MODULES CTA 23","Chambre 1 lit 04","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 79","REANIMATION MODULES CTA 23","Chambre 1 lit 05","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",19,null,1]
["RSU 80","REANIMATION MODULES CTA 23","Chambre 1 lit 06","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",22,null,1]
["RSU 81","REANIMATION MODULES CTA 23","Chambre 1 lit 07","SC 03","R+1 Sx","CTA 23","LT 06","Risque 2",22,null,1]
["END 12","ANNEXES ET SALLES ENDOSCOPIE CTA 35-A","Salle petite chirurgie","PI EN 01","R+1 Ox et Sx","CTA 35-A","LT 07","Risque 3",26,"Type C prestation simplifié",1]
["END 13","ANNEXES ET SALLES ENDOSCOPIE CTA 35-A","Préparation chirurgien","PI BOP 06","R+1 Ox et Sx","CTA 35-A","LT 07","Risque 3",4,"NA",1]
["CIR END 03","ANNEXES ET SALLES ENDOSCOPIE CTA 35-A","circu endo 03 (salle endo)","TS 09","R+1 Ox et Sx","CTA 35-A","LT 07","Risque 2",68,"NA",1]
["END 15","SALLES ENDOSCOPIE RCR 35-B","Salle endoscopie n°1","PI EN 02","R+1 Ox","RCR 35-B","LT 07","Risque 3",23,"Type C prestation simplifié",1]
["END 16","SALLES ENDOSCOPIE RCR 35-C","Salle endoscopie n°2","PI EN 02","R+1 Ox","RCR 35-C","LT 07","Risque 3",23,"Type C prestation simplifié",1]
["BOP 36","SALLES ENDOSCOPIE RCR 35-D","Salle endoscopie sous AG","PI EN 02","R+1 Ox","CTA 35-D","LT 05","Risque 3",29,"Type C prestation simplifié",1]

{"sheet":"Model","index":1,"n_rows":23,"n_cols":6,"rows_kept":23,"hidden":true,"merged":[[2,2,4,6]]}
[]
[]
[null,null,{"$f":"D9","v":0}]
[]
[]
[]
[]
[]
[null,"liste",{"$nulls":3},"SURFACE en m2"]
[]
[null,"zone",{"$nulls":3},"Type de prestation suivant DEVIS"]
[]
[null,"nom du local",{"$nulls":3},"Nbr"]
[]
[null,"type",{"$nulls":3},"iso"]
[]
[null,"Zone2",{"$nulls":3},"taux de renouvelement "]
[]
[null,"CTA",{"$nulls":3},"cascade pression "]
[]
[null,"LT",{"$nulls":3},"temperature ambiante"]
[]
[null,"CLASSE selon les BPF",{"$nulls":3},"hygrometrie ambiante"]

{"sheet":"tramme","index":2,"n_rows":56,"n_cols":8,"rows_kept":56,"merged":[[2,2,4,6],[33,2,35,6]]}
[]
[]
[null,null,{"$f":"D9","v":"LAB 10"}]
[]
[]
["referenciel"]
[]
[]
[null,"liste",null,"LAB 10",null,"SURFACE en m2",null,5]
[]
[null,"zone",null,"LABO CLASSE P3",null,"Type de prestation suivant DEVIS",null,"Type spécifique P3"]
[]
[null,"nom du local",null,"Sas Autoclave",null,"Nbr",null,1]
[]
[null,"type",null,"SAS",null,"iso"]
[]
[null,"Zone2",null,"RJ Ox",null,"taux de renouvelement ",null,25]
[]
[null,"CTA",null,"CTA 02-A",null,"cascade pression ",null,15]
[]
[null,"LT",null,"LT 01'",null,"temperature ambiante"]
[]
[null,"CLASSE selon les BPF",null,"ISO 7",null,"hygrometrie ambiante"]
{"$rows_empty":10}
[null,null,{"$f":"D39","v":"LAB 10"}]
[]
[]
["saisie technicien"]
[]
[null,"liste",null,{"$f":"D9","v":"LAB 10"},null,"SURFACE en m2",null,{"$f":"H9","v":5}]
[]
[null,"zone",null,{"$f":"D11","v":"LABO CLASSE P3"},null,"Type de prestation suivant DEVIS",null,{"$f":"H11","v":"Type spécifique P3"}]
[]
[null,"nom du local",null,{"$f":"D13","v":"Sas Autoclave"},null,"Nbr",null,{"$f":"H13","v":1}]
[]
[null,"type",null,{"$f":"D15","v":"SAS"},null,"iso",null,{"$f":"H15","v":0}]
[]
[null,"Zone2",null,{"$f":"D17","v":"RJ Ox"},null,"taux de renouvelement "]
[]
[null,"CTA",null,{"$f":"D19","v":"CTA 02-A"},null,"cascade pression "]
[]
[null,"LT",null,{"$f":"D21","v":"LT 01'"},null,"temperature ambiante"]
[]
[null,"CLASSE selon les BPF",null,{"$f":"D23","v":"ISO 7"},null,"hygrometrie ambiante"]
[]
[{"$nulls":7},"element saisie par le technicien "]
[{"$nulls":7},"dans le tableau colonne u v w x"]