{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["Bilan","Listes","HPLC 3","INV2"],"not_rendered":{"macros":1},"read":"whole","date_system":"1900"}

{"sheet":"Bilan","index":0,"n_rows":1,"n_cols":5,"rows_kept":1}
["Période de maintenance :",null,"2014-01-01","au","2020-12-31"]

{"sheet":"Listes","index":1,"n_rows":8,"n_cols":3,"rows_kept":8}
[]
[]
[null,"Nom des onglets","Prendre en compte ?"]
[]
[null,"Bilan","Non"]
[null,"INV1","Oui"]
[null,"INV2","Oui"]
[null,"Listes","Oui"]

{"sheet":"HPLC 3","index":2,"n_rows":14,"n_cols":10,"rows_kept":14,"merged":[[10,2,10,5],[10,6,10,9]]}
{"$rows_empty":10}
[null,null,"Pompe n°1",{"$nulls":3},"Pompe n°2"]
[null,null,"Joints de pistons","Clapets","Vérification de la pression","Crépines","Joints de pistons","Clapets","Vérification de la pression","Crépines"]
[null,null,1,2,4,2,1,2,4,2]
[null,null,"2015-05-01","2015-06-05","2015-02-18","2015-01-01","2015-05-03","2015-03-02","2015-04-25","2015-06-05"]

{"sheet":"INV2","index":3,"n_rows":14,"n_cols":10,"rows_kept":14,"merged":[[10,2,10,5],[10,6,10,9]]}
{"$rows_empty":10}
[null,null,"Pompe n°1",{"$nulls":3},"Pompe n°2"]
[null,null,"a","Clapets","Vérification de la pression","Crépines","Joints de pistons","Clapets","Vérification de la pression","Crépines"]
[null,null,1,2,4,2,1,2,4,2]
[null,null,"2015-05-01","2015-06-05","2015-02-18","2015-01-01","2015-05-03","2015-03-02","2015-04-25","2015-06-05"]