{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["En tête","Réserves-Commentaires","test"],"not_rendered":{"macros":1,"comments":1},"read":"whole","date_system":"1900"}

{"sheet":"En tête","index":0,"n_rows":9,"n_cols":11,"rows_kept":9}
["Site","Code site","Detail","zone","dpt","PLANIFIE \n(N° de Semainre)","Date de réalisation","Date d'envoi du dossier","COMMANTAIRE"]
["MINGOVAL","00000085F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :",null,{"$f":"RIGHT(E3, 2)","v":""}]
["ST_QUENTIN_LE_CHALET ","00000295A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :pb alarme intrusion qui\nremonte pas, manque serrure baie ericsson.",null,{"$f":"RIGHT(E3, 2)","v":""}]
["ST_QUENTIN_ST_MARTIN ","00000297A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire : ecart entre rail pylône de \n6mm et 7 mm.",null,""]
["ST_QUENTIN_ROUVROY ","00000300A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire : BAIE ERICSSON BRUIT\nANORMAL VOIR PHOTO 13",null,""]
["GAUCHIN_VERLOINGT","00014745F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :",null,""]
["ESIGNY_LE_GRAND ","00017739A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire : SOOL TROP GRAND POUR LE\nSYSTÈME DE COLISSO"]
["EPAINCHEN","00017794F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :"]
["OSTREVILLE","00017807F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :"]

{"sheet":"Réserves-Commentaires","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"test","index":2,"n_rows":9,"n_cols":11,"rows_kept":9}
["Site","Code site","Detail","Dpt","Zone","PLANIFIE \n(N° de Semainre)","Date de réalisation","Date d'envoi du dossier","COMMANTAIRE",null,"Zone"]
["MINGOVAL","00000085F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :",null,{"$f":"RIGHT(E2,2)","v":""}]
["ST_QUENTIN_LE_CHALET ","00000295A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :pb alarme intrusion qui\nremonte pas, manque serrure baie ericsson.",null,{"$f":"RIGHT(E3,2)","v":""}]
["ST_QUENTIN_ST_MARTIN ","00000297A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire : ecart entre rail pylône de \n6mm et 7 mm.",null,""]
["ST_QUENTIN_ROUVROY ","00000300A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire : BAIE ERICSSON BRUIT\nANORMAL VOIR PHOTO 13",null,""]
["GAUCHIN_VERLOINGT","00014745F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :",null,""]
["ESIGNY_LE_GRAND ","00017739A1",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire : SOOL TROP GRAND POUR LE\nSYSTÈME DE COLISSO"]
["EPAINCHEN","00017794F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :"]
["OSTREVILLE","00017807F5",{"$nulls":4},"2018-05-30","2018-05-30","Commentaire :"]